Installation

Conditions

1. Windows Vista or newer OS.
  1. New Agent doesn’t support Windows XP/Windows Server 2003 anymore.
2. An account with Administrator Rights.
Windows Agent supports 32-bit and 64-bit Windows OS.

Typical Scenario
1. Download any Windows Agent Installer MSI file from the Monitoring Site
2. Install it using any method you prefer
3. Deal done.

Options of Installation
Change Installation Folder. It is not recommended to change this folder.
Remove Legacy Agent. If this option checked, then Legacy Agent installation will be removed after successful installation of the Agent 1.6

Folders
The Agent 1.6 uses next folder
- Installation Folder:
  - %ProgramFiles(x86)%\checkmk\service for 64-bit OS
  - %ProgramFiles%\checkmk\service for 32-bit OS
- Data Folder: %ProgramData%\checkmk\agent

Details of Installation
The Agent 1.6 consists from the two parts
1. Agent Service for Windows with name checkmkservice
   The Service is placed in the Installation Folder
   Name of the main executable file of the Service is check_mk_agent.exe
2. User and Bakery Data files. Those files are placed in the Data Folder
Potential Problems and Limitations
You may have to add Firewall Rule to open port. Usually is 6556.
It is not recommended to change default installation folder. This is reminder
You may proof your installation with next command
net start checkmkservice
If Agent has been installed correctly, then you get response from the system
The requested service had been already started

Uninstallation
You can uninstall Check MK Agent 1.6 at any moment using any method.
Your data folder will NOT be removed after uninstallation. You have to do it manually.