Upgrade from Legacy Agent (Migration)

Conditions

Manual Upgrade
1. Legacy Agent 1.5 installed
2. Packaged Agent MSI is used
   Vanilla Agent MSI and Baked Agent MSI both have limited abilities to upgrade Legacy Agent Config.
Upgrade with Check MK Agent Update plugin
Legacy Agent 1.50p19 or newer installed. Since this version agent update plugin is fully compatible with 1.6
Process Details
1. Legacy Agent is found, stopped and disabled
2. Legacy configuration files are converted to the yml configuration file with preserving of the relative paths
3. Legacy’s files in plugins, local, mrpe, config and state folders are copied to corresponding folders of new agent. Openhardwaremonitor, logs and temp folders are ignored. Also ignored legacy agent update plugin.
4. If Update is done using check MK Agent Update Plugin, the New Agent patches Legacy agent data files to prevent Legacy Agent Plugin from next actions
5. [Optional] Legacy Agent may be removed from the system if it is defined by bakery
Limitations
- Vanilla or Naked Agent MSI cannot reuse your current bakery configuration of the Legacy Agent. This is by design: you can have only one bakery configuration.
- Upgrade is done only once, immediately after installation
- Some plugins with hard encoded relative paths may not work. This is rather rare exception.
- Firewall Rule may require your attention, because current version of Windows Agent doesn’t support automatic Firewall Rule adding
Miscellaneous
- You may retry upgrade process with command line option upgrade
- You may force upgrade process with command line option upgrade -force
- You may remove Legacy Agent manually with command line option remove_legacy
- If your legacy agent is not removed, you may switch between two agents using simple Windows bat script
Configuration File Conversion Rules
1. With packaged MSI
  1. Legacy check_mk_local.ini(if presented) is always converted to check_mk.user.yml
  2. Legacy check_mk.ini generated by WATO is converted to check_mk.bakery.yml
  3. Legacy check_mk.ini created by the user is converted to check_mk.user.yml. This step is skipped if check_mk.user.yml had been created during step a.
2. With Baked or Vanilla MSI
  1. Legacy check_mk_local.ini(if presented) is always converted to check_mk.user.yml
  2. Legacy check_mk.ini generated by WATO is ignored. This is quite important.
  3. Legacy check_mk.ini if created by the user is converted to check_mk.user.yml. This step is skipped if check_mk.user.yml had been created during step a.